{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["分项报价表"],"not_rendered":{"defined_names":1},"read":"whole","date_system":"1900"}

{"sheet":"分项报价表","index":0,"n_rows":8,"n_cols":19,"rows_kept":8,"merged":[[0,0,0,9],[3,0,3,9],[4,0,4,9]]}
["樟木头三期及樟木头一、二期提标进出水数采仪采购项目分项报价表"]
["序号","采购项目","采购品牌","规格参数","采购数量","单位","所报不含税单价\n（元）","不含税合计\n（元）","所报品牌","备注"]
[1,"数采仪","天唯/博控/万维","处理器：不低于32位Cortex-A7处理器；内存：512MB DDR3；Flash：4GB；10.1寸彩色串口屏；不少于2路10/100M以太网接口、4路485、5路232；支持本地或远程参数设置；支持多中心传送，无线4G传送。",3,"套"]
["备注：\n1.当分项报价明细表内累计与报价表不符时，以报价表为准，修正分项报价明细表的各项报价。\n2.上述报价数值如需保留小数点后 2 位，从小数点后第 3 位四舍五入。"]
["                                                       报价人：（加盖公章）\n\n                                                                                日期：     年      月     日                                                                                                                                                                                         ",{"$nulls":17},"."]
[]
[]
[{"$nulls":16},"                         "]