{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["分项报价表"],"not_rendered":{"defined_names":1},"read":"whole","date_system":"1900"}

{"sheet":"分项报价表","index":0,"n_rows":17,"n_cols":15,"rows_kept":17,"merged":[[0,0,0,7],[11,0,11,5],[12,0,12,7],[13,0,13,7]]}
["市区厂能源在线监测系统对接市平台采购项目分项报价表"]
["序号","采购项目","服务/规格要求","单位","数量","所报不含税单价\n（元）","不含税小计\n（元）","备注"]
[1,"市区厂能源在线监测系统","需建设丙级能源在线监测系统，将市区厂12个低压变压器的智能电表数据接入系统","套",1]
[2,"市区厂能源数据对接市平台","需将市区厂能源在线监测系统数据对接至东莞市智慧能源平台","套",1]
[3,"一分二分接器","BJ-3212","块",12]
[4,"LoRa无线收发器","F3X26Q","套",12]
[5,"通讯线","超五类带屏蔽网络线","米",200]
[6,"RVV电缆","3*1.5mm2","米",200]
[7,"数据采集箱","400*300*200mm","个",7]
[8,"空气开关","2P10a","个",7]
[9,"阻燃RVVP线管（含配件）","DN20","米",200]
["不含税合计（元）："]
["备注：\n1.当分项报价明细表内累计与报价表不符时，以报价表为准，修正分项报价明细表的各项报价。\n2.上述报价数值如需保留小数点后 2 位，从小数点后第 3 位四舍五入。"]
["                                                          报价人：（加盖公章）\n                                                                                                                             日期：     年      月     日                                                                                                                                                                                         ",{"$nulls":13},"."]
[]
[]
[{"$nulls":12},"                         "]